DNA Gel Electrophoresis

- Weigh out 1g of DNA grade agarose for each 100ml of gel you will need.

- Dissolve the agarose in 100ml 1X TAE and heat to boiling.

- When the melted gel has cooled so it is comfortable to the touch, add 4ul of SYBR green I or ethidium bromide solution (1%) and swirl to mix.  Pour the gel and place the comb.

NOTE: SYBR green and Ethidium Bromide are mutagens.  Wear gloves and eye protection and do not get on your skin!!

- When gel is set, place in the gel tank and cover with 1X TAE buffer.

- Mix samples with appropriate loading dye and load into wells of gel.

- Apply 50-80 volts to gel and electrophorese until first dye reaches the bottom of the gel.

- Stop the power, remove the gel, and place on UV light box to view. (NOTE: Wear UV eye protection or shield when viewing gel – it can damage your eyes without protection.)

- You make take a picture if desired.

- Throw the gel away in designated disposal container.

Materials needed:

DNA grade agarose (Fisher BP164-100)

TAE buffer (Fisher BP1330-1)

SYBR green I (Molecular Probes, Inc S7567)

Ethidium Bromide – 1% solution (Fisher BP 1302-10)

6X loading dye (Promega G1881)

10X loading dye (Ambion 8556)